# DRAFT –

# FOR STAKEHOLDER DISCUSSION

# SPS 2026 IRP STATEMENT OF NEED AND ACTION PLAN components

SPS 2026 IRP – Statement of Need and Action Plan Components

[Redlines During 8/26 – 8/27 Workshop]

# Statement of Need Structure

## Introduction and purpose of a Statement of Need.

### The IRP Rule, and specifically 17.7.3.10 NMAC, defines the parameters of a Statement of Need:

      - “The statement of need is a description and explanation of the amount and the types of new resources, including the technical characteristics of any proposed new resources, to be procured, expressed in terms of energy or capacity, necessary to reliably meet an identified level of electricity demand in the planning horizon and to effect state policies.” (17.7.3.10(A) NMAC)

      - “The statement of need shall not solely be based on projections of peak load.  The need may be attributed to, but not limited by, incremental load growth, renewable energy customer programs, or replacement of existing resources, and may be defined in terms of meeting net capacity, providing reliability reserves, securing flexible resources,  securing demand-side resources, securing renewable energy, expanding or modifying transmission or distribution grids, or securing energy storage as required to comply with resource requirements established by statute or commission decisions.” (17.7.3.10(B) NMAC)

## Aligning on the load forecast assumptions and methodology.

### SPS has developed different load forecasts for use in portfolio development, including a Low, Constrained Planning, and Unconstrained Planning forecast consistent with the requirements of the IRP Rule. Additionally, SPS performed modeling sensitives to explore hypothetical data center load.

- The Statement of Need relies on the Constrained Planning Forecast as the most accurate picture of future needs on the SPS system at this time.

- The current accredited capacity need for the Constrained Planning Forecast for each year of the Planning Period is as follows:

| Cumulative Accredited Capacity Need without Resources from the 2025 RFP |  |  |  | Cumulative Accredited Capacity Need with Resources from the 2025 RFP |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Constrained Planning |  |  |  | Constrained Planning |  |  |
| Year | Summer | Winter |  | Year | Summer | Winter |
| 2027 | 385 | 374 |  | 2027 | 385 | 374 |
| 2028 | 811 | 808 |  | 2028 | 811 | 808 |
| 2029 | - | 158 |  | 2029 | - | 158 |
| 2030 | 133 | 207 |  | 2030 | - | - |
| 2031 | 618 | 613 |  | 2031 | - | - |
| 2032 | 1,428 | 1,442 | Base RAP | 2032 | - | 264 |
| 2033 | 2,042 | 2,341 |  | 2033 | 442 | 1,175 |
| 2034 | 2,722 | 3,186 |  | 2034 | 1,125 | 2,028 |
| 2035 | 3,172 | 3,624 |  | 2035 | 1,575 | 2,466 |
| 2036 | 3,562 | 4,109 |  | 2036 | 1,969 | 2,961 |
| 2037 | 4,018 | 4,606 |  | 2037 | 2,425 | 3,458 |
| 2038 | 4,276 | 5,201 |  | 2038 | 2,683 | 4,053 |
| 2039 | 4,928 | 5,626 |  | 2039 | 3,334 | 4,477 |
| 2040 | 5,328 | 6,622 |  | 2040 | 3,745 | 5,475 |
| 2041 | 6,078 | 6,846 |  | 2041 | 4,495 | 5,699 |
| 2042 | 6,712 | 7,646 |  | 2042 | 5,144 | 6,507 |
| 2043 | 7,049 | 8,222 |  | 2043 | 5,481 | 7,083 |
| 2044 | 7,166 | 8,510 |  | 2044 | 5,622 | 7,407 |
| 2045 | 7,732 | 8,729 |  | 2045 | 6,208 | 7,641 |
| 2046 | 7,933 | 9,451 |  | 2046 | 6,445 | 8,399 |
| 2047 | 8,111 | 9,631 |  | 2047 | 6,624 | 8,580 |

### The Constrained Planning Forecast will form the basis for future procurements associated with this 2026 IRP.

- SPS will update the forecast values prior to RFP issuance to ensure that procurements capture the best available information, consistent with best planning practices.

## Defining the range and current projections of needs based on IRP analysis.

### The characterization of need in the IRP Rule is broad and the 2026 IRP explores the numerous drivers of SPS’s sizable needs over the planning period.  In addition to the accredited capacity need provided in the above tables, SPS is providing additional indicative information based on modeling to help inform stakeholders, the Commission, and potential bidders.

- For the purposes of this information the following definitions apply:

  - Firm resources: Resources that can be counted on to provide dependable capacity when the system needs it, subject to normal operational limitations, fuel availability, outage risk, and applicable accreditation rules. Examples may include dispatchable thermal units, certain storage configurations, or other resources capable of supporting resource adequacy needs.

  - Dynamic Balancing resources: Resources that help balance the system by responding to changing supply, load, and operating conditions over shorter timeframes. These resources generally provide flexibility, ramping capability, storage, demand response, or other operational attributes that help manage variability and maintain reliable service.

  - Carbon-free resources: Resources that produce electricity without direct carbon emissions during operation, or that otherwise support compliance with carbon-free or renewable energy policy objectives. Examples may include wind, solar, nuclear, certain storage charged from carbon-free energy, or emerging technologies that can provide energy without direct carbon emissions.

  - Important qualification: These categories are intended as generalized planning-oriented definitions rather than rigid classifications. A single resource, or portfolio of resources, may provide attributes that fit more than one category, and future technologies, market rules, accreditation methods, or operating practices may change how resources are categorized or valued over time.  SPS is not setting targets based on these categories and will not use them as a factor in the evaluation of actual project bids in the RFP.

- Managing affordability and continuing progress towards state policy achievement can be in tension, and the different portfolios developed through the facilitated stakeholder process and the 2026 IRP test different futures with varied assumptions.

- Resource Adequacy (“RA”) inputs used in the IRP modeling process to identify resource needs, including the Planning Reserve Margin (“PRM”) and resource accreditation values, are subject to change based on updates adopted by the Southwest Power Pool, the Regional Transmission Organization (“RTO”) of which SPS is a member. Prior to issuing an RFP, SPS will adjust the procurement need range to reflect the RA constructs and methodologies applicable at that time.

- The results of that work are shown as nameplate capacity, broken out in procurement need ranges, by technology category (Firm, Dynamic Balancing, and Carbon-Free groupings), developed using the lowest cost portfolios generated to solve the Low and Constrained Planning Forecasts, along with the five-year incremental resource needs identified in the lowest cost Constrained Planning portfolio, adjusted for 2025 RFP Resources pending approval (noting that needs will be addressed through the Action Plan set forth below).

        - Firm

          - Cumulative Range at the end of the Planning Period: 3.6 GW to 7.1 GW

          - Modeled Generic Preferred Portfolio: 1,396 MW through 2034; through 20-year planning horizon 7,128 MW

| Firm | 2027-2032 | 2033-2037 | 2038-2042 | 2043-2047 | Grand Total 2027-2047 |
| --- | --- | --- | --- | --- | --- |
| IRP Identified Need (MW) | 401 | 2,766 | 2,766 | 1,427 | 7,360 |  |
| 2025 RFP Resources (MW) | (233) | - | - | - | (233) |  |
| Adjusted Identified Need (MW) | 169 | 2,766 | 2,766 | 1,427 | 7,128 |  |

        - Dynamic Balancing

          - Cumulative Range at the end of the Planning Period: 1.0 GW to 1.2 GW

          - Modeled Generic Preferred Portfolio Value: 344 MW through 2034; through 20-year planning horizon 1,198 MW

| Dynamic Balancing | 2027-2032 | 2033-2037 | 2038-2042 | 2043-2047 | Grand Total 2027-2047 |
| --- | --- | --- | --- | --- | --- |
| IRP Identified Need (MW) | 694 | 150 | 281 | 572 | 1,698 |  |
| 2025 RFP Resources (MW) | (500) | - | - | - | (500) |  |
| Adjusted Identified Need (MW) | 194 | 150 | 281 | 572 | 1,198 |  |

        - Carbon-Free

          - Cumulative Range at the end of the Planning Period: 4.0 GW to 6.2 GW

          - Modeled Generic Preferred Portfolio Value: 3,250 MW through 2034; through 20-year planning horizon 6,221 MW

| Carbon-Free | 2027-2032 | 2033-2037 | 2038-2042 | 2043-2047 | Grand Total 2027-2047 |
| --- | --- | --- | --- | --- | --- |
| IRP Identified Need (MW) | 4,385 | 1,322 | 1,092 | 1,879 | 8,678 |  |
| 2025 RFP Resources (MW) | (2,457) | - | - | - | (2,457) |  |
| Adjusted Identified Need (MW) | 1,928 | 1,322 | 1,092 | 1,879 | 6,221 |  |

- These results do not are not technology-specific procurement targets; rather, a holistic all-source solicitation and development of modeled portfolios will determine the resource mix in future portfolios.

- SPS is providing the Modeled Generic Preferred Portfolio Values by technology type to provide an informational look at “a set of resource options that a utility could use to meet the service needs of its customers over a forecast period,” consistent with IRP Rule directives. (17.7.4.7(I)(1)(a) NMAC)

- These categories and the modeling projections in the tables for each category will not be used as part of bid evaluation.

- Modeling also reflects the potential for the addition of incremental projects beyond the Adjusted Identified Need to meet New Mexico RPS requirements that include 1.1 GW of Dynamic Balancing nameplate capacity and 10.1 GW of Carbon-Free Energy nameplate capacity by 2047.

## Resource procurement is not the only type of action that can assist in meeting the needs expressed above—actions have a broader scope.

### The facilitated stakeholder process has identified general action categories that can assist in solutioning the resource needs on the system, as follows:

- Actions with existing resources to meet capacity needs.

- Actions with respect to pilot projects or distribution-connected projects as capacity need management tools for further investigation.

- Site-specific procurement for identified points of interconnection with retiring generation.

- Systemwide competitive procurements to meet capacity needs.

- Long lead-time competitive procurements to meet capacity needs and identify emerging technologies that can meet needs and facilitate progress towards state policy goals.

## This Statement of Need is a consensus proposal with respect to forecasting, ranges of potential resource acquisition, and the scope of actions that can assist in meeting identified needs.

### The table below reflects the Statement of Need and its key components in a summary format, and the Action Plan provides specific steps for each type of action that will occur within the four-year period following the filing of the 2026 IRP.

| Item | Description |
| --- | --- |
| Load forecast fundamentals | Use Constrained Planning Forecast, updated prior to RFP(s) issuance. |
| 2034 Accredited Capacity Need | Base RAP likely 2031-2034. Accredited Need (with 2025 RFP Resources): - Summer: 1,125 MW - Winter: 2,028 MW |
| 2034 Modeled Preferred Portfolio Firm Nameplate | 1,396 MW |
| 2034 Modeled Preferred Portfolio Dynamic Balancing Nameplate | 344 MW |
| 2034 Modeled Preferred Portfolio Carbon-Free Nameplate | 3,250 MW |
| Action Categories to Address Needs | Actions with existing resources Actions with pilot projects Site-specific competitive procurement Systemwide competitive procurement Long lead-time competitive procurement |

# Action Plan Structure

## The IRP Rule, and specifically 17.7.3.11 NMAC, defines the parameters of an Action Plan and details three specific components.  The Action Plan must:

### “[D]etail the specific actions the utility shall take to implement the IRP spanning a three year period following the filing of the utility’s IRP …”; (17.7.3.11(A)(1) NMAC)

### “[D]etail the specific actions the utility shall take to develop any resource solicitations or contracting activities to fulfill the statement of need as accepted by the commission …”; (17.7.3.11(A)(2) NMAC) and

### “[I]nclude a status report of the specific actions contained in the previous action plan.” (17.7.3.11(A)(3) NMAC)

## Before going into each component, SPS is requesting a four-year Action Plan.  The additional year of this Action Plan gets SPS back on its original planning cycle, with staggered IRP filings by jurisdictional utilities occurring each year.

### This Action Plan facilitates the next IRP filing by SPS in 2030.  The RFP(s) below would be issued in this IRP docket “within five months of the commission’s acceptance of its statement of need and action plan,” consistent with the IRP Rule. (17.7.3.12(B) NMAC)

## For the first component, the action categories in the Statement of Need guide SPS’s actions in the relevant period following the filing of the 2026 IRP.

### Type: Actions with existing resources to meet capacity needs.

- Action: Upgrade to Jones Generating Station Units 3 and 4.

- Action: Bringing forward any opportunities such as life extensions or repowers to meet capacity needs or provide customers savings.

- Action: Survey the market for near-term in-service dates from expiring contracts or other sources.

### Type: Actions with respect to pilot projects or distribution-connected projects as capacity need management tools for further investigation.

- Action: Explore pilot projects or distribution-connected projects as capacity need management tools, with the objective of advancing technology evolution, increasing resiliency, and capturing capacity benefits.

### Type: Site-specific procurement for identified points of interconnection with retiring generation.

- Action: Procurement specificity with respect to Quay County site subject to point of interconnection limitations and to meet local reliability needs.

### Type: Systemwide competitive procurements to meet capacity needs.

- Action: All-source procurement for near-term period, i.e., the base resource acquisition period (“Base RAP”).

### Type: Long lead-time competitive procurements to meet capacity needs and identify emerging technologies that can meet needs and facilitate progress towards state policy goals.

- Action: All-source procurement for long-lead time period, i.e., the long-lead time resource acquisition period (“LL RAP”).

- Sub-action: engagement with Commission and stakeholders on regulatory tools to support development of any projects selected within the LL RAP.

## For the second component, SPS will develop a resource solicitation with either separate RFPs or one RFP with options for:

### Site-specific procurement at Quay County (same timeframe as Base RAP).

### Resource Procurement for the Base RAP.

### The Base RAP is expected to cover years 2031-2034.

  - Once an RFP has been drafted, a Technical Working Group Conference will be held to discuss key components of the RFP including the load forecast.

### Resource Procurement for the LL RAP.

  - The LL RAP is expected to cover years 2035-2040.

  - Once an RFP has been drafted, a Technical Working Group Conference will be held to discuss key components of the RFP including the load forecast.

## For the third component, the status report on specific actions from the previous action plan is below.

### SPS filed its 2023 IRP on October 13, 2023.  The 2023 IRP Action Plan is contained in Section 10 of the filed document. The Action Plan indicated that SPS would take steps to implement the 2023 IRP during the three-year period 2024 – 2026, consisting of the first stages to acquire resources needed to meet SPS’s needs through the end of 2030.  As summarized by the table on the next page, SPS has implemented or plans to implement all actions identified in the 2023 IRP Action Plan.

| Action Plan Item | Status |
| --- | --- |
| Issue Request for Proposals (“RFP”) pursuant to Rule 17.7.3.12 NMAC process | Implemented. RFP issued July 22, 2024. SPS also issued an RFP in October 2025 for additional capacity and additional projects needed to comply with 2030 RPS requirements. |
| Evaluate existing generation life extensions for SPS-owned units. | Implemented. Evaluation of the 2024 RFP included review of generation life extensions. Units eligible for extension were those units listed in Option 2 of the RFP: Nichols Units 1 and 2, Plant X Unit 4, and Maddox Unit 1. Modeling identified life extensions for all four units as cost-effective when compared to new-build alternatives, accounting for their age and condition. These extensions, totaling 521 MW, were selected for the portfolio based on modeling results and engineering reviews. |
| Subsequent resource approval filings | Plan to implement, including any approvals related to associated transmission investment. SPS submitted resource approval filings in New Mexico and Texas for projects selected in the 2024 RFP in 2025. See Case Nos. 25-00066-UT and Case No. 25-00085-UT. (Texas docket numbers are 58664 and 59034). In addition, SPS will submit resource approval filings for projects selected in the 2025 RFP in 2026. |
| Advance efforts to build SPS’s renewable energy customer programs. Evaluate expansion of Renewable*Connect. | SPS launched its New Mexico Large Commercial & Industrial Renewable*Connect program on August 1, 2025. Currently the program is not fully subscribed despite several attempts to direct market the program to the subset of eligible customers. At this time, expansion of the existing program is not needed due to current subscription levels. |
| Evaluate Demand Response Options, including the Interruptible Credit Option (“ICO”), and request regulatory approval where appropriate. | Requested authorization of ICO program in Case No. 22-00124-UT and was subsequently ordered to propose the ICO program in SPS’s November 2024 Energy Efficiency Plan filing. In Case No. 24-00269-UT, SPS included a proposed ICO tariff aimed at Primary General Service, Secondary General Service, and Large General Service Transmission (“LGST”) customers. SPS is awaiting a final order in the case. On October 10, 2024, in Case No. 24-00259, SPS proposed an additional demand response market offering, the Southwest Power Pool Integrated Marketplace Demand Response Option Tariff, which is a pilot interruptible program for LGST customers. SPS’s application, as modified by the Stipulation, was approved on June 26, 2025. |
| Include an interruptible tariff request in upcoming Energy Efficiency Reconciliation filing. | See note above regarding Demand Response Options and ICO. |
| Conduct TOU study according to the rate case stipulation in Case No. 22-00286-UT. | The Study has been completed, and a comprehensive TOU Summary has been provided to all participants and published for public access on Xcel Energy’s website. |
| Develop RFI for long-lead time emerging dispatchable resources. | Implemented; RFI issued August 21, 2024, and a re-issuance on July15, 2025 to further focus the information request and simplify the response process. |
| Develop RFP bid evaluation documents that include appropriate reliability and resiliency assessments. | For the 2024 RFP, SPS provided its Evaluation of Proposals to the Independent Monitor on June 17, 2025. The Independent Monitor filed its Final Report on July 17, 2025. For the 2025 RFP, SPS provided its Evaluation of Proposals to the Independent Monitor on June 29, 2026. The Independent Monitor filed its Final Report on July 24, 2026. Each Final Report includes an assessment of the evaluation process. |

© 2026 Xcel Energy Inc.  |  Xcel Energy is a registered trademark of Xcel Energy Inc.

The Low forecast is also known as the Financial forecast, which represents a conservative load growth forecast.